TECHNICAL DATA SHEET

DESCRIPTION		ASCORBIC ACID SOLUTION, BOTTLED

SGL PRODUCT CODE	3143

FORMULATION

Typical product composition*:

| COMPONENT | WEIGHT / VOLUME |
| --- | --- |
| Ascorbic acid | 10.0 g |
| Peptone | 1.0 g |
| Purified water | 1000 ml |

*Product may be adjusted and/or supplemented to meet performance criteria

QUALITY CONTROL SPECIFICATION

| PHYSICAL TESTS | SPECIFICATION CRITERIA |
| --- | --- |
| Appearance | Clear, colourless liquid |

| STERILITY TESTS | SPECIFICATION CRITERIA |
| --- | --- |
| Incubation at 22-25°C for a minimum of 5 days | No growth detected |
| Incubation at 35-37°C for a minimum of 5 days | No growth detected |
| Incubation at 42-45°C for a minimum of 5 days | No growth detected |

Additional specification testing may be performed as requested by the customer.

Manufactured in compliance with ISO 9001 (Ref No FM37824).